## Slide 1
External
Thermal
Insulating
Composite
Systems
Emilian Grigore, ROCKWOOL
Reasons to be serious about fire safety
Notes: <number>

## Slide 2: Why care about fire safety of ETICS?
The amount of combustibles applied to external walls is growing: both in m2 and thickness
Technologies develop: renders became thin and organic
During renovation, fire safety is a special concern
Notes: <number>

## Slide 3: Why care about fire safety of ETICS?
Declared fire safety is achieved only if the building practice assures the perfect quality of application
20 years of mass application is the time to look at fire cases
is still not agreed how ETIC systems increase fire risk
Notes: <number>

## Slide 4: Which applications are critical?
Public buildings of social interest
  Homes for the elderly & the disabled
  Medical buildings
  Schools and kindergartens
Notes: <number>

## Slide 5: Which applications are critical?
High-rise buildings
  Multiple risks of fire spread, severe consequences
  Limited means of escape – often only one escape route!
  Limited means of fire fighting – only from the inside
Notes: <number>

## Slide 6: What does Europe say?
Member states decide what level of fire safety to apply, and how
Euroclass is no more than a very minimum safety net against small fires
Large-scale test for ETICS started to be developed in EU
Smoke: toxicity is not part of existing classes
Notes: <number>

## Slide 7: What do Member States say?
Regulations governing fire safety of ETICS differ
Euroclass is not accepted as the sole criterion in many places
As a result, one ETICS is safe in one member state but not in another...
Notes: <number>

## Slide 8: What do Member States say?
Large-scale national tests are plenty and on the increase!
High-rise & social public buildings often have a higher level of fire safety – non combustible structure is a must in many countries
Notes: <number>

## Slide 9: Fire barriers: a solution?
To pass local fire tests, some Member States require non-combustible barriers within combustible ETICS core
Their safety effect depends on many variables
  Chosen fire scenario: size, duration, wind...
  Interaction of all components, including renders
    EURIMA report: www.eurima.org
Perfect installation quality in practice
Notes: <number>

## Slide 10: Renovation: a growing concern
Combustible material during renovation: a source of fire hazard
Unfinished buildings do not comply with Building Codes!
Shanghai fire 2010: hopefully the last example
Notes: <number>

## Slide 11: Fires do happen
Dijon, France 2010
Miskolc, Hungary 2009
Notes: <number>

## Slide 12: Fires happen when something goes wrong... Do we apply safety measures against known risks?
Notes: <number>